## TPS3
PERFORMANCE OF PUBLIC LICENSEES
Service Dimension |  | Service Indicator | Responsibility of | Service Standard | Jan - Mar 99 Performance/ (Target) |  | Apr - Jun 99 Performance/ (Target) |  | Jul - Sep 99 Performance/ (Target) |  | Target % | Performance %
[5 empty] | % |  | % |  | % |  |  | 2020 | 2021 | 2022 | 2023
Availability of Supply | a) | Minimum duration of notice of interruption of electricity or gas supply | SP PowerAssets Ltd | 7 consecutive days | 100 | (≥95) | 100 | (≥95) | 100 | (≥95) | (≥95) | 100 | 100 | 100 | 100
|  |  | PowerGas Ltd | 2 working days | 99 | (≥95) | --- | (≥95) | --- | (≥95) | (≥95) | 100 | 100 | 100 | 100
| b) | Time taken to restore electricity supply for each power failure due to failure of, damage to, or operation of Licensee's equipment or cables rated at 22kV and below | SP PowerAssets Ltd | 3 hours | [6 empty] | 100 | 100 | 99.81 2 | 99.77 3 | 99.78 4
|  |  | SP PowerAssets Ltd | Exceeds 2 hours but does not exceed 3 hours | [6 empty] | (≤10) | 0.81 | 0.54 | 0.88 | 1.76
Restoration of Supply | a) | Time taken to restore gas supply after each gas supply disruption incident in the gas pipeline network rated at/above 200 mbarg and below 3 barg | PowerGas Ltd | 24 hours | 100 | (≥95) | --- | (≥95) | --- | (≥95) | (=100) | 100 | 100 | 100 | 100
Quality of Supply | a) | Time taken to rectify voltage complaint or limit violation | SP PowerAssets Ltd | 2 consecutive days | 100 | (≥95) | 100 | (≥95) | 100 | (≥95) | (≥95) | 100 | 100 | 100 | 100
| b) | Time taken to correct voltage complaint which requires network reinforcement | SP PowerAssets Ltd | 6 months | N.A | 99 | N.A | 99 | N.A | 99 | (≥99) | 100 | 100 | 100 | 100
Gas Emergency | a) | Time taken to respond to all reported gas leakages | PowerGas Ltd | 1 hour | 100 | 100 | --- | 100 | --- | 100 | 100 | 100 | 100 | 100 | 100
Providing Supply | a) | Time taken to process supply application and to reply to applicant | SP Services Ltd | 14 consecutive days | 98.59 | 85 | 98.92 | 85 | 98.79 | 85 | (≥85) | 99.59 | 99.55 | 99.28 | 98.86
| b) | Time taken to implement electrification scheme requiring new substations after take-over of substation (up to 22kV) | SP PowerAssets Ltd | 10 weeks | 100 | 90 | 100 | 90 | 100 | 90 | (≥90) | 100 | 100 | 100 | 100
| c) | Time taken to implement service connection requiring cable installation work after premises to be supplied is ready to receive cable | SP PowerAssets Ltd | 6 weeks | 98.3 | 90 | 99.73 | 90 | 100 | 90 | (≥90) | 99.69 | 100 | 100 | 99.9
| d) | Lead time taken to inspect and turn-on large installation (supply capacity greater than 45kVA) upon request | SP Services Ltd | 7 working days | 100 | (90)* | 100 | (90)* | 100 | (90)* | (≥90) | 100 | 100 | 100 | 100
| e) | Lead time taken to test and turn-on small installation (supply capacity less than or equal to 45kVA) upon request | SP Services Ltd | 10 consecutive days | 97.76 | (90)* | 98.75 | (90)* | 98.75 | (90)* | (≥90) | 99.95 | 99.98 | 96.2 | 100
| f) | Time taken to inspect and turn-on pre-tested electrical installation upon request after opening of account | SP Services Ltd | 3 working days | 100 | 98 | 100 | 98 | 100 | 98 | (≥98) | 100 | 99.99 | 100 | 100
| g) | Waiting time at site for appointment to turn-on or cut-off electricity or piped gas supply | SP Services Ltd | 1.5 hours | 99.9 99.07 | (90) (99) | 99.9 --- | (90) (99) | 99.9 --- | (90) (99) | (≥90) | 99.94 | 99.9 | 99.48 | 99.17
|  |  | City Energy Pte Ltd | 2 hours | [6 empty] | (≥95) | 99.01 | 99.44 | 99.87 | 99.64
| h) | Time taken to process and approve submission of plans for application of gas supply | City Energy Pte Ltd | 2 weeks | 100 | 99 | --- | 99 | --- | 99 | (≥90) | 97.94 | 96.96 | 98.73 | 98.93
| i) | Time taken to process an application for connection to the gas distribution network and to reply to the applicant | PowerGas Ltd | 2 weeks | 100 | 99 | --- | 99 | --- | 99 | (≥90) | 98.61 | 99.05 | 100 | 99.37
| j) | Time taken to carry out gas service connection from the date when customer's premises is ready to receive connection and where the premise is within gas distribution network | PowerGas Ltd | 6 weeks | 100 | 90 | --- | 90 | --- | 90 | (≥90) | 99.49 | 100 | 100 | 100
Customer | a) | Time taken to reply to written complaint | SP PowerAssets Ltd | 7 working days | 100 | (≥95) | 100 | (≥95) | 100 | (≥95) | (≥95) | 98.14 | 100 | 100 | 100
Contact |  | Time taken to reply to written enquiry or complaint | City Energy Pte Ltd | 7 working days | 100 | (≥95) | --- | (≥95) | --- | (≥95) | (≥95) | 100 | 100 | 100 | 100
|  |  | PowerGas Ltd | 7 working days | 101 | (≥95) | --- | (≥95) | --- | (≥95) | (≥95) | 100 | 100 | 99.99 | 99.99
|  | Time taken to reply to written enquiry (including complaint) (Supply of Electricity) | SP Services Ltd | 7 working days | (≥95) .8 | (≥95) | 96 | (≥95) | 96.4 | (≥95) | (≥95) | 100 | 100 | 100 | 100
|  | Time taken to reply to written enquiry (including complaint) (Utilities Support Services) | SP Services Ltd | 7 working days | (≥95) .8 | (≥95) | 96 | (≥95) | 96.4 | (≥95) | (≥95) | 98.67 | 98.2 | 97.58 | 99.12
| b) | Queuing time at customer service counter (enquiries and opening/closing of account) | SP Services Ltd | 20 minutes | 92.7 | 90 | 93.5 | 90 | 96.9 | 90 | (≥90) | 96.92 | 97.75 | 94.88 | 94.14
| c) | Time taken by customer service officer to pick up ringing telephone | SP Services Ltd | 30 seconds | 91.8 | 90 | 91.3 | 90 | 91.8 | 90 | (≥90) | 90.48 | 91.1 | 91.01 | 91.65
Metering Services | a) | Time taken to attend to meter problem at site upon notification | SP PowerAssets Ltd | 8 consecutive days | 100 | (≥95) | 100 | (≥95) | 100 | (≥95) | (≥95) | 98.03 | 100 | 100 | 100
|  | Time taken to attend to metering problem at site upon notification | SP Services Ltd | 8 consecutive days | [6 empty] | (≥95) | 99.51 | 100 | 100 | 100
| b) | Time taken to respond (make appointment, visit or reply) to a metering problem or dispute upon notification | PowerGas Ltd | 5 working days | 100 100 | (≥(≥95) ) (≥(≥95) ) | --- 100 | (≥(≥95) ) (≥(≥95) ) | --- 100.0 | (≥(≥95) ) (≥(≥95) ) | (≥95) | 100 | 100 | 100 | 100
|  | Time taken to respond (make appointment or reply) to meter disputes upon notification | SP Services Ltd | 5 working days | [6 empty] | (≥95) | 100 | 100 | 100 | 100
| c) | Time interval between successive reading of billing meter(s) | SP Services Ltd | Once in 2 months | 100 | (≥95) | 100 | (≥95) | 100 | (≥95) | (≥95) | 100 | 100 | 100 | 99.98
Service Dimension |  | Service Indicator | Responsibility of | Service Standard | Jan - Mar 99 Performance/ (Target) |  | Apr - Jun 99 Performance/ (Target) |  | Jul - Sep 99 Performance/ (Target) |  | Target %
[5 empty] | % |  | % |  | % |  |  | 2020 | 2021 | 2022 | 20235
Reliability of Supply | a) | Number of power failure incidents1 caused by failure of, damage to, or operation of Licensee's equipment or cables | SP PowerAssets Ltd | 0 incident | [6 empty] | 100 | 8 | 11 | 11 | 5
Quality of Supply | a) | Number of voltage dip incidents1 due to failure of, damage to, or operation of Licensee's equipment or cables | SP PowerAssets Ltd | 0 incident | [6 empty] | (=100) | 3 | 0 | 1 | 1
1 Only incidents where the Licensee is determined by the Authority to be at fault will be counted.
2 Due to unexpected site constraint at the area where the cable failed and caused power failure on 17 Apr 2021.
3 Due to unexpected site constraint at the area where the cable failed and caused power failure on 23 Jul 2022.
4 Due to unexpected site constraint at the area where the cable failed and caused power failure on 20 Aug 2023.
5 Numbers are accurate up to Oct 2024.